DRAFT :  MAY 23,2018

ADDENDUM #2

May  , 2018

REQUEST FOR PROPOSALS FOR REGIONAL BIOSOLIDS FACILITY

NAUGATUCK, CONNECTICUT

Response to Questions

1.       With the SSI hardware coming on line in July 2018, is Naugatuck under a Consent Order? If so, please provide.  (JIM STEWART TO RESPOND)

a.       What are projected additional operating costs and throughput limitations as a result of the improvements? (JIM STEWART TO RESPOND)

Additional Labor and Replacement Cost for Gore Modules, We expect Service agreement for equipment.

2.       What is dewatering capacity of the 5 centrifuges reserved for merchant processing? (J STEWART TO RESPOND)

We have 2 Belt presses with a capacity of 90 Gal/min Each

And 3 J-spin centrifuges with a capacity of 80 Gal/min Each

Approximately 2.5 Dry tons/hour.

3.       When do the new phosphorous limitations take effect? (J STEWART TO RESPOND)

4.       What is incinerator’s current Greenhouse Gas footprint?

The Borough does not have this information.

5.       The last paragraph in 7.0 indicates costs will be included although the Technical Comparative Evaluation Criteria listed says costs will be excluded. How will business and financial proposal be evaluated if cost is excluded?  Cost will be taken into consideration as part of the value analysis to be completed after the technical comparative evaluation criteria are used to evaluate Proposals.  During the value analysis, the Borough will rank Proposals considering both the results of the technical evaluation and cost, ranking those Proposals higher that are in the best interests of the Borough.  It is not necessary for the Borough to choose the lowest cost Proposal, or the Proposal providing the highest revenues to the Borough, but cost and revenue are important factors in selecting the qualified Proposers.

6.       Other than Naugatuck’s own sewage, does the proponent’s scope include identifying, contracting for and arranging for transportation of all feedstocks (food, FOG, green waste, etc.) to the WWTP/Biosolids Facility? Will the septage supply from neighboring municipalities be included at the same commercial arrangements or may that supply be replaced/renegotiated?  Yes, the Contractor will be responsible for identifying, contracting for and arranging for transportation of all feedstocks to the Biosolids Facility.  Regarding septage supply, currently septage from Naugatuck and communities connected by sanitary sewer to the Naugatuck WWTP (Middlebury, Beacon Falls and Oxford) receive septage treatment at no cost. It is anticipated that this practice will continue.  (BOROUGH- WILL THIS POLICY FOR SEPTAGE CONTINUE?)

7.       Do the current contractual agreements contain any performance requirements regarding the condition of assets at the conclusion of the operating period?  Specifically with regard to the SSI, are there any throughput, permit compliance, or equipment service life requirements? Yes, current contractural agreements contain requirements regarding the condition of assets at the conclusion of the operating period.  Those requirements include remaining “useful life “ requirements at the end of term.  The SSI itself is not included in those remaining useful life requirements, although appurtenances to the incinerator are included.  Throughput, permit compliance and service life of the SSI must be maintained through the term of the contract, and are expected to be met at turnover, when the term is completed.  (J BINDER MIGHT EXPAND BASED ON REVIEW OF VEOLIA CONTRACT)

8.       Section 1, page 3, second paragraph – notes that Phase II of RFP will be expanded to include WWTF and collection system operation (“WET side”) and the biosolids service provider will have to be from one or more of shortlisted Phase I shortlisted companies.  How will the “WET side” prequalification be done to make sure that biosolids proposer teams up with a qualified company?  May be best not to ask this to limit number of interests on Phase I and may be ask after completion of Phase I.  “Wet side” minimum qualification criteria will be included in the Phase II RFP, and wet side Proposers for Phase II will be evaluated against those criteria. Those wet side Proposers that meet the minimum qualification criteria will be deemed qualified companies by the Borough for wet side services in Phase II.   When the Phase II RFP is released, biosolids companies shortlisted in Phase I will be able to compare wet side companies against those same criteria to judge whether the wet side company is a qualified company.   The Borough focused on biosolids providers in Phase I to encourage as many possible companies and technologies providing biosolids services to respond to and be available for teaming in Phase II. As noted in the Phase I RFP, Phase I shortlisted companies that can provide all requested services for Phase II, including operation of the WWTP and sanitary sewer system, can propose to do so in Phase II.

9.       Will the Borough provide side-stream return flows and quality data (i.e. centrate from dewatering and incinerator return from ash lagoons)?     (J. STEWART TO RESPOND.   Jim, CAN YOU PUT THIS DATA ON THE BOROUGH’S WEB SITE FOR THIS RFP PROCESS?)

10.   Page 15 of pdf Table 7.1; Item 2 states that Any proposed system must produce end products that have markets (compost, fertilizer, products designated as recyclable by statute).  Would the Borough please confirm that this provision is not intended to limit or preclude continued incineration?  This provision is not intended to limit or preclude continued incineration.   If a technology proposed produces compost, fertilizer, products disignated as recyclable by statute, then the Borough’s intent is that such end products be marketable.

11.   Page 16 of pdf , 8.0 item 1 requires the lead proponent to list the design engineering firm and construction contractor.  Will the Borough consider making this an optional element, such that lead proponents may reserve the right add those elements during phase II of the procurement?  This adjustment will allow the lead proponents to more closely match the qualifications and experience of the design firm with the final solution being proposed and to more efficiently control costs on both elements.  The Borough requests that key members of the Proposer’s team be identified in Phase I so as to be able to review and evaluate their qualifications as part of the shortlisting process in Phase I.   If a specific design engineering and construction contractor can not be identified in Phase I, then the Proposer should identify those firms that it is considering for that role.   If it is necessary or desireable to change that selection in the Phase II Proposal, that can be done, provided the qualifications of the selected design and engineering firms are comparable to or exceed those identified in the Phase I Proposal.

12.   Can proponents submit more than one proposed solution?  Will proponent be allowed to change or add on to the technology submitted during Phase I to address the specifics of the Phase II documents? Yes, a proponent can submit more than one proposed solution, however, in so doing the Borough requests that the Proposer identify their preferred solution.  All Phase I Proposals will be evaluated using the same evaluation process and evaluation criteria.  Yes, a proponent can modify or add to a technology submitted during Phase I during the Phase II Proposal process, provided that said technology or technolgies meet the Minimum Evaluation Criteria presented in the Phase I RFP.   The evaluation of Phase II Proposals will take into account any such changes or additions.   The Borough does not encourage significant changes from Phase I to Phase II, but recognizes that there might be a need for change based on the Phase II RFP requirements.